## Areas
Name
Exterior
Basement
Floor 1
Floor 2
Floor 3
Floor 4
Floor 5

## Checklists
Name
General
Fire Escape
Roof
Fire and Life Safety
Bedroom
Bathroom
Kitchen
Laundry
Clinic
Elevator machine room
Boiler Room
Common Areas
Office

## Checklist Items (CI)
Short Description | Detailed Instructions
Air conditioner | Clean and in proper working condition?
Air conditioner filter | Clean and in good condition?
Back yard | Neat and Clean?
Backflow / RPZ valve inspection | conducted quarterly?
Bed rails | securely mounted with no gaps w/ mattress
Boiler | Leaks, exhaust vents, annual inspection certificate posted?
Clear of debris
Clear of leaves / snow / debris
Countertop | Clean and in good condition?
Dishwasher | Clean and in proper working condition?
Door | Door gaps less than 3/4 inch, hardware, clean, closes without issue or noise?
Doors with EM devices | Close and positivley latch when alarm is active?
Drains properly
Dryer lint trap | Clean and in good condition?
Electrical | Electrical sockets and wiring
Emergency lights | Clean and in proper working condition?
Exhaust vent | Clean and in good condition?
Exit signs (Lighted) | Clean and in proper working condition?
Exits | Clear of obstructions?
Extension cords | not used as permantent fixtures?
Fan | Clean and in proper working condition?
Fire extinguisher | Mount, indicator in green, tagged and inspected on front and back
Fire safety doors | Clean and in proper working condition?
Fire Sprinkler | Heads, condition, quarterly inspection certificate posted?
Flamable products | stored properly outside?
Floor | Floor Clean, stripped, and polsihed?
Freezer | Clean and in proper working condition?
Front yard | Neat and Clean?
Furniture | Clean and in good condition?
Garbage shed | Clean?
Guages
Gutters and leaders
Hand dryer | Clean and in proper working condition?
Headboards | securely mounted and in good condition?
HVAC
Knobs | in place and securely mounted?
Lawn and hedges | Neatly trimmed?
Light fixtures | Clean and in proper working condition?
Liquid soap | Check level, dispensing, mount
Mattresses | Clean and in good condition?
Mechanical
Mount
Paint
Paper goods | TP, hand towels, etc available?
Refrigerator | Clean and in proper working condition?
Refrigerators - medical | used for specimens and meds are locked?
Restroom keys | immediatley availabe?
Rust free
Sharps containers available
Shower | Clean, non-slip surface works, faucets work?
Sidewalks and walkways | Clear of obstructions, snow and ice
Sink | Clean, faucets work, drains?
Smoke and carbon monoxide detectors | Clean and in proper working condition?
Steps | Clear of obstructions?
Storage shed | Clean and in good condition?
Stored items | Minimum clearance of 18 inches from ceiling?
Stove pilot lights | Clean and in proper working condition?
Tarring | Look for cracks, holes, too thin
Toilets | Clean and in proper working condition?
Trash cans available
Tub | Clean and with non-slip surface
TV | Turns on, mounted well, decent physical condition
Walls and ceiling | Clean and in good condition?
Washer | Clean and in proper working condition?
Water temperaturer | between 90-110 degrees Fahrenheit?
Window Treatment | Blinds, shades, curtain rods
Windows | Clean, open/close, and screens in place?

## Assign CL to Area
Area | Checklist
Exterior | General
Exterior | Fire Escape
Exterior | Roof
Basement | Elevator machine room
Basement | Boiler Room
Floor 1 | Kitchen
Floor 1 | Laundry
Floor 1 | Clinic
Floor 1 | Common Areas
Floor 1 | Office

## Assign CI to Checklists
Checklists | Checklist Item | Rating System
General | Back yard
General | Front yard
General | Garbage shed | Numeric
General | Gutters and leaders
General | Lawn and hedges
General | Sidewalks and walkways | Numeric
General | Steps
General | Storage shed
Roof | Tarring
Roof | Clear of leaves / snow / debris | Numeric
Roof | Drains properly
Fire Escape | HVAC
Fire Escape | Clear of debris
Fire Escape | Rust free | Numeric
Fire Escape | Paint
Fire Escape | Mount
Fire and Life Safety | Fire extinguisher
Fire and Life Safety | Fire safety doors
Fire and Life Safety | Doors with EM devices | Numeric
Fire and Life Safety | Fire Sprinkler
Fire and Life Safety | Emergency lights
Fire and Life Safety | Exit signs (Lighted) | Numeric
Fire and Life Safety | Exits
Fire and Life Safety | Smoke and carbon monoxide detectors
Bedroom | Air conditioner
Bedroom | Air conditioner filter | Numeric
Bedroom | Bed rails
Bedroom | Door
Bedroom | Electrical | Numeric
Bedroom | Fan
Bedroom | Floor
Bedroom | Headboards
Bedroom | Light fixtures
Bedroom | Mattresses | Numeric
Bedroom | Walls and ceiling
Bedroom | Window Treatment
Bedroom | Windows
Bathroom | Door
Bathroom | Electrical | Numeric
Bathroom | Fan
Bathroom | Floor
Bathroom | Hand dryer | Numeric
Bathroom | Knobs
Bathroom | Light fixtures
Bathroom | Liquid soap
Bathroom | Paper goods | Numeric
Bathroom | Shower
Bathroom | Sink
Bathroom | Toilets | Numeric
Bathroom | Tub
Bathroom | Walls and ceiling
Bathroom | Water temperaturer
Bathroom | Window Treatment | Numeric
Bathroom | Windows
Kitchen | Air conditioner
Kitchen | Air conditioner filter
Kitchen | Countertop | Numeric
Kitchen | Dishwasher
Kitchen | Door
Kitchen | Electrical
Kitchen | Extension cords | Numeric
Kitchen | Fan
Kitchen | Floor
Kitchen | Freezer | Numeric
Kitchen | Knobs
Kitchen | Light fixtures
Kitchen | Refrigerator
Kitchen | Sink
Kitchen | Stove pilot lights
Kitchen | Walls and ceiling | Numeric
Kitchen | Water temperaturer
Kitchen | Window Treatment
Kitchen | Windows
Laundry | Exhaust vent
Laundry | Dryer lint trap
Laundry | Washer
Clinic | Air conditioner filter | Numeric
Clinic | Air conditioner
Clinic | Backflow / RPZ valve inspection
Clinic | Walls and ceiling
Clinic | Windows | Numeric
Clinic | Door
Clinic | Window Treatment
Clinic | Floor | Numeric
Clinic | Light fixtures
Clinic | Electrical
Clinic | Flamable products | Numeric
Clinic | Refrigerators - medical | Numeric
Clinic | Restroom keys
Clinic | Sharps containers available
Clinic | Trash cans available
Clinic | Stored items
Elevator machine room | Walls and ceiling | Numeric
Elevator machine room | Light fixtures
Elevator machine room | Door | Numeric
Elevator machine room | Floor
Elevator machine room | Mechanical
Elevator machine room | Electrical
Boiler Room | Walls and ceiling
Boiler Room | Door | Numeric
Boiler Room | Floor
Boiler Room | Light fixtures
Boiler Room | Electrical | Numeric
Boiler Room | Boiler
Boiler Room | Guages
Common Areas | Walls and ceiling
Common Areas | Windows | Numeric
Common Areas | Door
Common Areas | Window Treatment | Numeric
Common Areas | Furniture
Common Areas | Floor | Numeric
Common Areas | Fan
Common Areas | Light fixtures
Common Areas | Electrical
Common Areas | Extension cords
Common Areas | TV | Numeric
Office | Walls and ceiling
Office | Windows
Office | Door
Office | Window Treatment
Office | Furniture | Numeric
Office | Floor
Office | Fan
Office | Light fixtures | Numeric
Office | Electrical
Office | Extension cords